## Parameter File
Srn | Data Type
1 | Quote Reference | Auto Generated
2 | Type of Project | Project/Retail
3 | Budjetary Quote | Yes/No
4 | City | Drop Down
5 | Region | Branch office State
6 | Month | Drop Down
7 | Date | Drop Down
8 | Client Name | Related Client from database to be shown
9 | Project Reference
10 | Type of DG | STD/ Non STD
11 | Rating | Drop Down
12 | Engine Make | Drop Down
13 | Engine Model | Drop Down
14 | Alternator Make | Drop Down
15 | Alternator Model | Drop Down
16 | Voltage | 414/3300/6600/11000/NSTD(Value)
17 | Hz | 50/60
18 | Qty | Drop Down
19 | Cooling System | HE/RAD/RRP/RRS/CT | Heat Exchanger/Radiator/Remote Radiator-Primary/Remote Radiator Secondary/Cooling Tower
20 | Chances | R/Y/G | Red/Yellow/Green
21 | Status | Pending/Lost/Won
22 | Segment | Commercial/Industrial/Data Center/Residential/Hospital/Hotels/Govt
23 | Consultant Name | Related database to be shown while typing | COMPANY NAME
24 | Contact: Person &Mobile |  | COMPANY CONTACT PERSON & MOBILE
25 | PMC | Related database to be shown while typing
26 | Client Contact name/mobile No
27 | DG Value(With ED)
28 | Lowside Supply-Basic
29 | Lowside Labour-Basic
30 | Project Total | Summation of Srn 27+28+29
31 | Month of Order | Drop Down | ITEM LEVEL DETAIL
32 | Month of Loss | Drop Down
33 | Low Side Margin | Costing Summary Upload-Format Attached
34 | Project Margin | Costing Summary Upload-Format Attached
35 | Estimated order Closure Month | Drop Down
36 | Estimated DG Delivery Month | Drop Down
37 | Estimated Project Closure Month | Drop Down
38 | Competition
39 | Enquiry Owner | Drop Down list
40 | Enquiry type | Unit Rate/Lum Sum
41 | Customer | Exisiting/New
42 | Type of Transaction | EOU/EPCG/DTA/STPI/SFIS
For Won Orders-Indent Need to be Generated-Format to be Refered in Next Sheet of this file.

## Indent Format
DG SET INDENT FORM SWPPL
BRANCH | Bangalore |  |  | Order Type | Unit Rate | RATING |  | 2000 | QTY | 3
INDENT No. | BLR / 009 /15 -16 |  |  | Room treatment | Lumpsum | STD/ NON.STD. |  |  |  | Standard
DATE | 28th Aug 2015 |  |  |  |  | EOU/EPCG/DTA/STPI |  |  |  | SEZ
CUSTOMER TYPE | Existing |  |  |  |  | SEGMENT |  |  |  | IT Park
CUSTOMER INFORMATION
NAME |  |  |  |  | DELIVERY ADDRESS
BILLING ADDRESS
CUSTOMER CONTACT |  |  |  |  | ECC NO
DESIGNATION |  |  |  |  | CST NO.
TELE NUMBER |  |  |  |  | TIN NO.
E-MAIL ID |  |  |  |  | IEC NO.
CONSULTANT |  |  |  |  | P M C
CONSULTANT CONTACT |  |  |  |  | PMC CONTACT
TELE. NUMBER |  |  |  |  | TELE. NUMBER
E-MAIL ID |  |  |  |  | E-MAIL ID
TECHNICAL INFORMATION
ENGINE |  | 2000 KVA |  |  | ALTERNATOR |  | 2000 KVA
ENGINE MAKE |  | PERKINS |  |  | MAKE |  | LEROYSOMER |  | VOLT | 415V
ENGINE MODEL |  | 4016 - 61 TRG2 |  |  | SOLO/PARALLEL |  | Parallel Operation
COOLING SYSTEM |  | Raidator Version |  |  | TYPE OF PANEL |  | Standard Isoltaor panel - MDO 3200 Amps with KWH
FUEL TANK |  | 990 ltrs |  |  | PANEL OPTIONALS
ENGINE OPTIONALS |  |  |  |  | ALTERNATOR OPTIONALS |  | QDCT
DG TESTING |  | Standard Testing @ works wittnessed by PMC / Consultants |  |  | IF YES |  | Included in DG price
TESTING PROCEDURE IF ANY |  | Standard Factory test procedure |  |  | TESTING CHARGES |  | INCLUDED IN DG PRICE
COMMERCIALS INFORMATION - FOR SUPPLY OF DG SET
DG PRICE (Basic) |  |  |  |  | ADVANCE |  | 5% of the total contract amount as mobilisation advance.
EXCISE DUTY (DTA )- 12.5% |  | 12.5% | Nil Against SEZ documents |  | CHE/DD DET. |  |  |  | DATE
CESS |  | 0% | 0 |  | BANK, PLACE
SHEC |  | 0% | 0 |  | BALANCE
SUBTOTAL |  |  | 0 |  | FORMS |  | Form C for supply of DG set, Panel & Acoustic Enclosure.
VAT @ 5.5% |  | 5.5% | Nil Against Form I for DG Set |  | PAYMENT TERMS (DG set) |  | 5% of the total contract amount as mobilisation advance.
ENTRY TAX |  | 0% | NA
OCTROI |  | 0% | NA |  |  |  | 90% against supply of materials at site.
ANY OTHER TAX |  | 0% | NA
F & I |  |  | Included |  |  |  | 5% against BG valid for 12 months from the date of commissioning.
SUB TOTAL |  |  | 0
No of DG set |  |  | 3 |  | Performance Gaurantee |  | 10% PBG Valid till warranty period of 12 months
Sub Total ( A) (DG sets) |  |  | 0 |  | Liquidated Damages |  | 0.5% of the total contract value per day of delay, subjected to 5% of the total contract value.
COMMERCIALS INFORMATION - FOR INSTALLATION
A. Dg set Accessories |  |  |  |  | ADVANCE
Pipes ( Exhaust & Fuel pipes) |  |  |  |  | CHE/DD DET. |  |  |  | DATE
Vat @ 5% |  | 5% | 0 |  | BANK, PLACE
Cables |  |  |  |  | BALANCE
Vat @ 5.5% |  | 5.5% | 0 |  | FORMS |  | 5% RBG valid for 12 months from the date of commissioning.
Sub Total ( B ) ( DG set Accessories) |  |  | 0 |  | PAYMENT TERMS (DG set) |  | 10% of the total contract amount of the WO as mobilisation advance which is recoverable on prorata basis.
B. Low side materials supply
VAT @ 14.5% |  | 14.5% | 0 |  |  |  | 60% against supply of materials at site.
E. Labour for installation
VAT @ 14.5% |  | 14% | Nil for SEZ facility |  |  |  | 30% against Installation.
Sub Total ( c ) ( Low side works) |  |  | 0
Total Project value ( A + B + C ) |  |  | 0 |  |  |  | 10% after succesful testing & commissioning of DG & CFO from KSPCB & clearance from CEIG upon submission of BG valid for 12 months from the date of commissioning.
[5 empty] | Liquidated Damages |  | 0.5% of the total contract value per week of delay, subjected to 5% of the total contract value.
Performance Gaurantee
ADDITIONAL INFORMATIONS / COMMITMENTS IF ANY
DELIVERY OF DG SET |  | Immediate
TOTAL PROJECT TIME FRAME |  | Start Date : 28/ 08 / 2015 Commissioning Date : 20 / 09 / 2015 Approvals : 01 / 10 / 2015
PREPARED BY |  | Vikram U K |  |  | APPROVED BY |  | Mohan P
ORIGINAL TO BANGALORE | [5 empty] | 1 COPY AT LOCAL BRANCH
SCOPE OF SUPPLY
SGPL - SILVASSA |  |  |  |  | EXECUTION BRANCH
Engine - Perkins |  |  |  | YES | Exhaust Piping |  |  |  |  | YES
Cooling System- ENGINE DRIVEN RADIATOR |  |  |  | YES | Exhaust supports |  |  |  |  | YES
Alternator - Leroy Somer |  |  |  | YES | Cladding for exhaust pipe |  |  |  |  | YES
Special AVM Pads |  |  |  | YES | Bellows in Horizontal run |  |  |  |  | YES
Batteries, leads & stand |  |  |  | YES | Fuel piping / valves |  |  |  |  | YES
Residential Silencers |  |  |  | YES | Control cables & terminations |  |  |  |  | YES
Exhaust Bellows |  |  |  | YES | Aviation Lamp / Control cable |  |  |  |  | YES
Fuel Tank - 990 Ltrs |  |  |  | YES | Lightning arrestor with GI Strip |  |  |  |  | YES
Set of Fuel Hoses-Inlet & Outlet with adaptors |  |  |  | YES | Earth pits |  |  |  |  | NO
First fill of Coolant |  |  |  | YES | Earth strips |  |  |  |  | NO
First fill of Lube oil |  |  |  | YES | Power Cables / Bus duct / Cable trays |  |  |  |  | NO
Acoustic Enclosure |  |  |  | NO | Safety Kits |  |  |  |  | YES
Adopter Box (By SWPPL) |  |  |  | YES | AMF Panel / Synchronisation Panel |  |  |  |  | NO
QDCT |  |  |  | YES | MCC Panel ( in DG yard & HSD Yard) |  |  |  |  | NO
Standard Factory test witnessed by Client |  |  |  | YES | Diesel For Site Testing |  |  |  |  | NO
Standard Isoltaor panel - MDO 3200 Amps with KWH (By SWPPL) |  |  |  | YES | Minor Civil works |  |  |  |  | NO
Intermediate tank & Overflow tank - 990 Ltrs - 1 no. each |  |  |  | No | Power for erection |  |  |  |  | YES
Unloading & position of DG set, Panel ( BY SWPPL) |  |  |  | YES | Rental Load Bank |  |  |  |  | NO
Laisoning for approval from CEIG ( BY SWPPL) |  |  |  | YES | Spring supports |  |  |  |  | YES
Laisoning for approval from PCB ( BY SWPPL) |  |  |  | YES | Acoustic Room treatment ( LS) |  |  |  |  | YES
First fill of Diesel -800 Ltsr Per DG set ( By SWPPL) |  |  |  | YES | Acoustic Room lighting |  |  |  |  | YES
Initial Battery Charging ( BY SWPPL) |  |  |  | YES
WARRANTY FROM DATE OF COMMISSIOING |  |  |  | 24 months from the date of commissioning for DG set / Low side - 12 months from the date of handing over
OPERATOR REQUIREMENT |  |  |  | NO

## Costing Summary Sheet
SUMMARY SHEET
Sr | Description | COST |  | Selling |  | AMOUNT
No |  | MATERIAL | LABOUR | MATERIAL | LABOUR
DG SET
A | DG Set | 65000 | 0 | 1000 | 0 | 1000
| GRAND TOTAL | 65000 | 0 | 1000 | 0 | 65000
0
| MATERIAL COST |  |  |  |  | 65000
| LABOUR COST |  |  |  |  | 0
| OVERHEAD |  |  |  |  | 3250
| LOCAL TAXES |  |  |  |  | 3575
| SERVICE TAX |  |  |  |  | 0
| TOTAL COST |  |  |  |  | 71825
| TOTAL SELLING |  |  |  |  | 65000
| MARGIN AMOUNT |  |  |  |  | -6825
| % MARGIN |  |  |  |  | -9.5023
LOW SIDE
|  | COST |  | Selling |  | AMOUNT
|  | MATERIAL | LABOUR | MATERIAL | LABOUR
Local Supply |  | 3000 | 0 | 70000 | 0 | 34000
5% ( Pipes & Steel ) |  | 1000000 |  | 8000000 |  | 8000000
5.5% Cables |  | 2000000 |  | 60000000 |  | 60000000
OTHER PART |  | 350000 | 450000 | 56757575 | 45456464 | 102214039
| GRAND TOTAL | 3353000 | 450000 | 124827575 | 45456464 | 170248039
| MATERIAL COST |  |  |  |  | 120000
| LABOUR COST |  |  |  |  | 450000
| OVERHEAD |  |  |  |  | 190150
| LOCAL TAX RAT1 @ 14.5% |  |  |  |  | 51185
| LOCAL TAX RATE2 @ 5.5% |  |  |  |  | 110000
| LOCAL TAX RATE3 @ 5% |  |  |  |  | 55000
| LOCAL TAX RATE4 @ 5% |  |  |  |  | 0
| SERVICE TAX @ 14% |  |  |  |  | 63000
| TOTAL COST |  |  |  |  | 1039335
| TOTAL SELLING |  |  |  |  | 170248039
| MARGIN AMOUNT |  |  |  |  | 169208704
| % MARGIN |  |  |  |  | 16280.4778
| GRAND TOTAL |  |  |  |  | 170313039
|  |  | TOTAL COST |  |  | 1111160
| TOTAL MARGIN |  |  |  |  | 169201879
| TOTAL MARGIN(%) |  |  |  |  | 15227.4991